IntelliSAW Critical Asset Monitoring (CAM™) Platform

| GENERAL INFORMATION |  |
| --- | --- |
| CUSTOMER |  |
| LOCATION |  |
| POINT OF CONTACT |  |
| PROJECT NAME |  |
| PROJECT TYPE | ☐ OEM ☐ Retrofit |
| SHUTDOWN DATE |  |

| ASSET INFORMATION |  |
| --- | --- |
| Asset Type (air insulated only) | ☐ Switchgear: ☐ ANSI dual breaker per vertical panel ☐ ANSI / IEC single breaker per vertical panel ☐ Low Voltage (breakers > 500A) ☐ Transfer Switch ☐ Bus Duct ☐ Segregated (ISO Phase) ☐ Non-segregated ☐ Transformer ☐ Step up ☐ Step down ☐ Generator Circuit Breaker ☐ Generator PT cabinets ☐ Other: |
| Manufacturer & Model |  |
| Location | ☐ Indoors ☐ Outdoors |
| Asset Frame Material | ☐ Steel ☐ Stainless Steel ☐ Aluminum ☐ Other: |
| Operating Voltage, Current, Frequency | Voltage: Bus Current: ☐ 50 Hz ☐ 60Hz |
| Is there an Instrument / Control / Low voltage compartment? Available power? | ☐ Yes ☐ No ☐ 240V AC ☐ 120V AC ☐ 120 - 130V DC ☐ 48V DC ☐ 24V DC ☐ Other: _______ |
| Sensor Types: Emerson will provide sensor and installation locations based on best practices |  |
| Thermal Monitoring? | ☐ Yes ☐ No |
| Partial Discharge? | ☐ Yes ☐ No |
| Humidity / Ambient Temp? | ☐ Yes ☐ No |
| Other Details: The more asset documentation provided, the more accurate a technical proposal |  |
| Documentation Provided | ☐ Physical layouts ☐ Pictures ☐ Mechanical cross section diagram ☐ Single-line Diagrams |
| Other Asset Details If no documentation, provide a general description / sketch. | Example: 1 switchgear lineup - 13.8kV. Main, tie, main configuration with 12 dual breaker feeder panels. 27 total breakers. |

| SYSTEM INTEGRATION / DATA DISPLAY |  |
| --- | --- |
| CAM-5 - Local HMI for data viewing / trending - 6-channel Alarm Relays - Local Data Storage - Data Aggregator for up to 9 connected Readers. Communications: | ☐ Yes ☐ No ☐ Modbus RTU ☐ Modbus TCP ☐ DNP3 ☐ IEC 61850 |
| IRM-48 Reader - Requires SCADA / DCS / IntelliSAW CAM-5 to view or log data. - Modbus RTU Data Converter? Modbus RTU select one | ☐ Yes ☐ No ☐ Modbus TCP ☐ Fiber |